Protocol 007: Atrial Fibrillation induction

HEartLab, 2025
Atrial Fibrillation induction

# Procedure

- Elute 1ml of a 1mM Carbachol solution (1 Eppendorf) in 999 ml of nutrient solution. This will generate a 1uM solution of Carbachol (use solution).

  - In the case of using an Acetylcholine solution, the procedure is the same.

    - Elute 1ml of a 1mM acetylcholine solution (1 Eppendorf) in a 999ml of nutrient solution. This will generate a 1uM solution of acetylcholine (use solution).

- Elute 25 ml of Concentrated Blebbistatin (66 uM at 30°C) to that 1L solution.

  - Following almost the same protocol for “Heart movement blockage”.

    - (+)-Blebbistatin = 0.5 Eppendorf

    - (±)-Blebbistatin = 1.0 Eppendorf

- Turn off the peristaltic pump.

- Wait for a low volume in the upper flask reservoir.

- Infuse the eluted 1uM carbachol solution into the heart using the solution input of the Langendorff system.

- Wait for up to 30 seconds.

- Before the electrical stimulation, we need to see a consistent decrease in the heart rate rhythm.

- Proceed with the electrical pacing protocol described below.

  - Burst Protocol

    - Duration: 2s each burst

    - Pulse Width: 2ms

    - Cycle Length: 20ms (50Hz)

    - Number of Bursts: 8

    - Interval between Bursts: 10s

  - Wait ten minutes between each protocol

  - Repeat a maximum of 5 times.

- If the initial induction sequence is unsuccessful, an alternative experiment-specific induction sequence may be applied. The complete parameters of any alternative sequence must be recorded in the experiment log.

- Make all the recordings in the AF situation.

- Stops the administration of the Carbachol solution when the AF recording ends.

  - Back to a default nutrient solution.

# Reference

Zafalon Jr N, Bassani JWM, Bassani RA. Cholinergic–adrenergic antagonism in the induction of tachyarrhythmia by electrical stimulation in isolated rat atria. Journal of Molecular and Cellular Cardiology 37 (2004) 127–135.

In this version the protocol of pacing has been adapted from the above article, to rabbit’s atria heart.