Protocol 008: Pre-experiment Checklist

- Production of distilled water

  - ____________________________________________________________

- Sterilize surgical materials

  - ____________________________________________________________

- Langendorff cleaning with alcohol.

  - ____________________________________________________________

- Langendorff cleaning with Distilled water.

  - ____________________________________________________________

- Clean Recirculation System.

  - ____________________________________________________________

- Charge the Batteries of the LED lights.

  - ____________________________________________________________

- Check temperature control.

  - ____________________________________________________________

- Check cameras.

  - ____________________________________________________________

- Check LEDs.

  - ____________________________________________________________

- Check the MEAs

  - ____________________________________________________________

- Check the references

  - ____________________________________________________________

- Check the TTL configuration.

  - ____________________________________________________________

- Test synchronization.

  - ____________________________________________________________

- Test 3D reconstruction.

  - ____________________________________________________________

- Check stimulator and pacing functions.

  - ____________________________________________________________

- Check the ablation system.

  - ____________________________________________________________

- Check the needles for ablation and backup.

  - ____________________________________________________________

- Check Tank connection and water bath recirculation.

  - ____________________________________________________________

- Check if OBS, camera, real-time clock and surgical camera work.

  - ____________________________________________________________

- Create experiment folders in the SSD Drive

  - folder: yearmounthday-experiment:

    - Electric -> 6x (filter and no_filter)

    - Optic

    - media -> screenshots + photos_videos + OBSrecording + 3D

  - ____________________________________________________________

- Check the Balloon and backup.

  - ____________________________________________________________

- Check the Anesthesia table.

  - ____________________________________________________________

- Check and organize surgical components.

  - ____________________________________________________________

- Check solution needs for preparation.

  - ____________________________________________________________

- Confirm that appropriate biological, sharps, and chemical waste-disposal arrangements are available according to institutional procedures.

  - ____________________________________________________________

- Print documents for the experiment.

  - ____________________________________________________________